| Project | PIC iX CPE / {MONTH} {YEAR} Security Update | DHF Number | 453564736341 |
| --- | --- | --- | --- |

| Approvers |  |  |  |
| --- | --- | --- | --- |
| Function/Role | Name | Approver Signature | Date |
| Sr Manager, Software & System Testing | Amittai Shapira | See Windchill Signature Page |  |
| Quality Engineer | Vincent Prawira | See Windchill Signature Page |  |
| Independent Technical Reviewer, ER Manager | Atia Wali | See Windchill Signature Page |  |
| Document Owner | Brian Norman | See Windchill Signature Page |  |

Table of Contents

1	Purpose	3

2	Scope	3

3	Terminology & Abbreviations	3

4	Deviations from the Verification Plan	3

5	Verification Results	3

5.1	Design Verification Results	3

5.2	Residual Issues	5

5.3	Test Metrics	5

5.4	Other related DVR(s) relevant for this Product Release	5

6	Entry & Exit Criteria	5

7	Defects	6

8	Conclusion	6

9	References	6

10	Document Information	6

10.1	Document Properties	6

# Purpose

This document provides a summary of the test results and conclusion of the verification.

# Scope

The document covers all design verification activities as outlined in the Design Verification Plan (See Referenced/Associated Documents).

# Terminology & Abbreviations

| Terminology & Abbreviations | Description/Definition |
| --- | --- |
| CR | Change Request |
| DHF | Design History File |
| DVIP | Design Verification Iteration Plan |
| DVP | Design Verification Plan |
| DVR | Design Verification Report |
| ID | Identifier |
| NGS | Next Generation System or Solution |
| NRep | Not Reproducible |
| NTBF | Not To Be Fixed |
| PED | Production Equivalent Device |
| STICR | Change Request (Synonymous with CR) |

# Deviations from the Verification Plan

None.

# Verification Results

## Design Verification Results

Description of Equipment used to verify the product(s) Under Test (i.e. listed in the above table):

See Test Case Run ID for description of equipment used to verify product(s) under test. All equipment used in each test environment is released product.

Note: 1 PED = Production Equivalent Device; a Product Equivalent Device Report is necessary if PED is used for testing.

Description of Equipment in the Test Environment:

See Test Case Run ID for description for equipment used in test environments

Note: PED = Production Equivalent Device; a Product Equivalent Device Report is necessary if PED is used for testing.

Description of Tools used:

See Test Case Run ID attachment for description of tools used.

Description of Instrument used:

No instruments used.

## Residual Issues

There are no residual issues.

## Test Metrics

Not applicable.

## Other related DVR(s) relevant for this Product Release

Not applicable.

# Entry & Exit Criteria

The product met the SV and EV criteria as defined in the Design Verification Plan. Verification of this product is complete.

| Criteria | Status (Met, Not Met) | If not met, explain rationale for completeness, write N/A for Not Applicable |
| --- | --- | --- |
| Testability |  |  |
| 100% traceability from spec tags to test cases. | Met | N/A |
| 100% traceability from test cases to spec tags. | Met | N/A |
| Test Concepts and test cases are complete. | Met | N/A |
| Test cases have been validated by dry run or other means. | Met | N/A |
| Test cases are approved. | Met | N/A |
| Rollout of the monthly Official Security Patches from Microsoft and/or other approved 3rd Party Vendor. | Met | N/A |
| System Requirements (HW and SW) are defined, and all required test systems are available. | Met | N/A |
| Test tools are available and accounted for in the Software Tool Inventory and validated as required. | Met | N/A |
| Other |  |  |
| SV-ready learning products service documentation is available for reference. | Met | N/A |
| Updated and approved SRS and Feature Specs are available and under document control. | Met | N/A |
| Testing of the product, system, or subsystem may start as soon as the relevant test protocol is approved and required hardware and (test) software is available and documented in a controlled environment. | Met | N/A |
| Resolution of Change Requests |  |  |
| All CRs are closed or dispositioned to another release. | Met | N/A |
| There are zero Critical/Serious CRs closed with reason NTBF, NRep, Duplicate, As specified, Deferred, Transferred. | Met | N/A |
| Test Execution |  |  |
| All test cases are executed and passed as indicated by Design Verification Report. | Met | N/A |
| Reliability (Ex: longevity, stress, and performance) tests passed. | Met | N/A |

# Defects

There are no unresolved critical or serious defects.

# Conclusion

Design Verification activities defined in 453564802931 PIC iX Security Patch Design Verification Plan Rev {CHANGE} have been completed.

# References

| Document Number | Document Title | Document Revision |
| --- | --- | --- |

# Document Information

## Document Properties

| Property | Value |
| --- | --- |
| Template Used | A-Q2920-01678-T006 Rev C |
| Document Class | see system managing this document |
| Tier | see system managing this document |
| Element | see system managing this document |